## Feuil1
EXPERIMENTS SUMARY
DSC
Date | SEQ1 | C | SEQ2 | C | data file | comment
2022-10-24 | 1PTSPOOL | 30uM | STP2LOOP8 | 30uM | STP2-L8vs1PTS-30uM-PBbuffer.dsc | Preamplifier and compensation feedback parameter do not match, large background, discard data
2022-11-07 | PB |  | PB |  | PB-PB-Scan | Buffer only, allows to check instrumental drift and assymetry, average of up and down scan can be withdrawn from data for analysis, all scan exported
2022-11-08 | 1PTSPOOL | 50uM | STP2LOOP8 | 50uM | 1PTS-L8-50uM-PB-didnotremovePB-Scan.scn and 1PTS-L8-50uM-PB-didnotremovePB-Scan.scn | Data ok all scan exported to texts, may have diluted slightly the sample during loading in the calorimeter
2022-11-14 | 1PTSPOOL | 64uM | STP2LOOP4 | 67uM | PTSPOOL64uM-STP2L4-67uM-PB.scn | Data OK all scan exported to texts
ITC
2022-10-24 | STP2LOOP8 |  | 1PTSPOOOL |  | L8-1PTS-55uM.jet | problem during the experiment, data cannot be used
2022-10-25 | STP2LOOP8 | 7.7 uM | 1PTSPOOOL | 51uM | POOL1PTS-51uM-in-STP2LOOP8-7.7uM-25deg-250rpm | seems ok replace experiment from 24/10/2022
2022-11-08 | STP2LOOP8 |  | 1PTSPOOL | 77uM | 1PTSPOOL-77uM-STP2L8-25deg-250rpm.jet | Seems OK, some problem in drift in the baseline
2022-11-14 | 1PTSPOOL |  | STP2LOOP4 | 56uM | L4at56uM-in-POOL1PTS-25deg-250rpm | seems OK
sequences
names | sequences | MW | molar extinction coefficient
1PTSPOOL | CACCGTGCTTAGAGTGGCTTCTATTGACATGC
LOOPSTP2L4 | CACTCTAAGCACGGTGTTTTGCATGTCAATAGAAGC
LOOPSTP2L8 | CACTCTAAGCACGGTGTTTTTTTTGCATGTCAATAGAAGC
LOOPSTP2L16 | CACTCTAAGCACGGTGTTTTTTTTTTTTTTTTGCATGTCAATAGAAGC
LOOPSTP2L32 | CACTCTAAGCACGGTGTTTTTTTTTTTTTTTTTTTTTTTTTTTTTTTTGCATGTCAATAGAAGC